## FWM7350
FWM-7350 GROUND-WATER OBSERVATION WELL | [5 empty] | Site ID:
[6 empty] | Local Number: | FC00100112DAA
All measurements in feet |  |  |  | Feet | Elevation
Depth to bottom of well from MP : |  |  |  | 23.845 | 425.205
Depth from TOCP to top of SI : |  |  |  | 14.845 | 434.205
Depth from TOCP to bottom of SI : |  |  |  | 19.845 | 429.205 |  | MM, mass measurement
Land Surface Datum: |  |  |  | -- | 446.205 |  | PM, partial measurement
Datum corrections, reference survey notes in site folders | [6 empty] | MP, measuring point
N/A, not available
| Date | MP Elevation (feet above sea level) |  |  |  |  | SI, screened interval
| 1997-04-11 | 449.05 |  |  |  |  | TOC, top of casing
WS, water surface
Calib, used to calibrate PT
Date | Time | Method | MP to WS | Error | LS to WS | WS elevation | Remarks
1997-05-03 11:00 | 35553.4583 | E-tape | 18.01 | 0.02 | 15.165 | 431.04 | UAF-MM
1997-05-15 15:30 | 35565.6459 | E-tape | 18.76 | 0.02 | 15.915 | 430.29 | UAF-MM
1997-05-22 14:30 | 35572.6043 | E-tape | 18.99 | 0.02 | 16.145 | 430.06 | UAF-MM
1997-06-05 15:30 | 35586.6459 | E-tape | 19.845 | 0.02 | 17 | 429.205 | UAF-MM
1997-06-12 12:30 | 35593.5209 | E-tape | 19.28 | 0.02 | 16.435 | 429.77 | UAF-MM
1997-06-26 17:00 | 35607.7084 | E-tape | 20.14 | 0.02 | 17.295 | 428.91 | UAF-MM
1997-07-03 15:30 | 35614.6459 | E-tape | 20.32 | 0.02 | 17.475 | 428.73 | UAF-MM
1997-07-10 09:30 | 35621.3959 | E-tape | 20.37 | 0.02 | 17.525 | 428.68 | UAF-MM
1997-07-17 18:00 | 35628.75 | E-tape | 20.14 | 0.02 | 17.295 | 428.91 | UAF-MM
1997-07-22 18:00 | 35633.75 | E-tape | 20.01 | 0.02 | 17.165 | 429.04 | UAF-MM
1997-07-24 17:00 | 35635.7083 | E-tape | 19.88 | 0.02 | 17.035 | 429.17 | UAF-MM
1997-07-25 18:00 | 35636.75 | E-tape | 19.79 | 0.02 | 16.945 | 429.26 | UAF-MM
1997-07-25 18:30 | 35636.7708 | E-tape | 19.8 | 0.02 | 16.955 | 429.25 | UAF-MM
1997-07-28 17:00 | 35639.7083 | E-tape | 19.87 | 0.02 | 17.025 | 429.18 | UAF-MM
1997-07-31 18:30 | 35642.7708 | E-tape | 20.04 | 0.02 | 17.195 | 429.01 | UAF-MM
1997-08-07 17:30 | 35649.7292 | E-tape | 20.12 | 0.02 | 17.275 | 428.93 | UAF-MM
1997-08-21 18:30 | 35663.7709 | E-tape | 19.28 | 0.02 | 16.435 | 429.77 | UAF-MM
1997-09-05 16:00 | 35678.6667 | E-tape | 19.73 | 0.02 | 16.885 | 429.32 | UAF-MM
1997-09-11 17:00 | 35684.7084 | E-tape | 19.87 | 0.02 | 17.025 | 429.18 | UAF-MM
1997-09-25 15:30 | 35698.6459 | E-tape | 19.63 | 0.02 | 16.785 | 429.42 | UAF-MM
1997-10-02 15:00 | 35705.625 | E-tape | 19.8 | 0.02 | 16.955 | 429.25 | UAF-MM
1997-10-17 17:00 | 35720.7083 | E-tape | 19.61 | 0.02 | 16.765 | 429.44 | UAF-MM
1997-11-11 16:00 | 35745.6667 | E-tape | 19.75 | 0.02 | 16.905 | 429.3 | UAF-MM
1997-02-16 11:00 | 35477.4583 | E-tape | 20.42 | 0.02 | 17.575 | 428.63 | UAF-MM
1998-04-13 16:00 | 35898.6667 | E-tape | 20.74 | 0.02 | 17.895 | 428.31 | UAF-MM
1998-04-15 17:00 | 35900.7083 | E-tape | 20.63 | 0.02 | 17.785 | 428.42 | UAF-MM
1998-04-30 14:00 | 35915.5833 | E-tape | 20.14 | 0.02 | 17.295 | 428.91 | UAF-MM
1998-05-08 13:00 | 35923.5417 | E-tape | 20.15 | 0.02 | 17.305 | 428.9 | UAF-MM
1998-05-18 11:44 | 35933.4889 | E-tape | 20.06 | 0.02 | 17.215 | 428.99 | UAF-MM
1998-05-28 11:30 | 35943.4792 | E-tape | 19.59 | 0.02 | 16.745 | 429.46 | UAF-MM
1998-06-15 | 13:40 | E-tape | 20.51 | 0.02 | 17.665 | 428.54 | UAF-MM
1998-06-29 | 11:40 | E-tape | 19.79 | 0.02 | 16.945 | 429.26 | UAF-MM
1998-07-29 | 10:30 | E-tape | 18.61 | 0.02 | 15.765 | 430.44 | UAF-MM
1998-08-18 | 10:40 | E-tape | 17.5 | 0.02 | 14.655 | 431.55 | UAF-MM
1998-09-08 | 14:00 | E-tape | 18.49 | 0.02 | 15.645 | 430.56 | UAF-MM
1998-10-09 | 12:30 | E-tape | 19.03 | 0.02 | 16.185 | 430.02 | UAF-MM
1998-11-06 | 15:30 | E-tape | 18.96 | 0.02 | 16.115 | 430.09 | UAF-MM
1999-03-08 | 12:45 | E-tape | 20.37 | 0.02 | 17.525 | 428.68 | UAF-MM
1999-05-05 | 15:30 | E-tape | 20.09 | 0.02 | 17.245 | 428.96 | UAF-MM
1999-06-15 | 16:45 | E-tape | 19.95 | 0.02 | 17.105 | 429.1 | UAF-MM
1999-07-15 | 14:30 | E-tape | 20.38 | 0.02 | 17.535 | 428.67 | UAF-MM
1999-08-06 | 11:18 | E-tape | 19.8 | 0.02 | 16.955 | 429.25 | UAF-MM
1999-08-23 | 8:35 | E-tape | 19.11 | 0.02 | 16.265 | 429.94 | UAF-MM
1999-10-16 | 15:00 | E-tape | 19.52 | 0.02 | 16.675 | 429.53 | UAF-MM
2000-03-04 | 1115 | E-tape | 20.21 | 0.02 | 17.365 | 428.84 | UAF-MM
2000-04-22 | 1338 | E-tape | 20.47 | 0.02 | 17.625 | 428.58 | UAF-MM
2000-05-15 | 1240 | E-tape | 18.54 | 0.02 | 15.695 | 430.51 | UAF-MM
2000-06-14 | 1045 | E-tape | 17.68 | 0.02 | 14.835 | 431.37 | UAF-MM
2000-07-13 | 1310 | E-tape | 18.39 | 0.02 | 15.545 | 430.66 | UAF-MM